[image: image1.jpg]£23

GENTAUR



Fetal Bovine Serum 
0.1µm : Filtration
FB-1001/50 : Code

.8460  : Batch
 24/06/2015 : Exp.Date
-20 °C: Storage

CERTIFICATE OF ANALYSIS
Quality Profile

	Test
	Methods
	Units
	Specifications
	Results

	Appearance
	
	
	Clear straw to amber liquid
	Clear straw to amber liquid

	Bacteria and Fungi
	
	
	Not detected
	Not detected

	Mycoplasma
	Culture
	
	
	Not detected

	Ph
	
	
	
	7.33

	Osmolarity
	Freezing point
	mOsm/l
	
	313

	Endotoxin
	Chromokinetic test
	EU/ml
	
	2.189

	Haemoglobin
	
	Mg/100ml
	
	14.48

	Total protein
	Biuret colorimetry
	g/l
	
	34.9

	BVD Virus
	Cell culture observation and ELISA test
	
	Not detected
	Not detected

	IBR Virus
	Cell culture observation and ELISA test
	
	Not detected
	Not detected

	PI3 Virus
	Cell culture observation and ELISA test
	
	Not detected
	Not detected


Chemical Parameters
	Test
	Methods
	Units
	Specifications
	Results

	Chloride
	Indirect potentiometry
	mmol/l
	
	99

	Creatinine
	Colorimetry Kinetic (Jaffé)
	mg/100ml
	
	3

	Urea
	Urease UV
	mg/100ml
	
	40

	Glucose
	Hexokinase UV
	mg/100ml
	
	68

	Uric Acid
	Uricase trinder colorimetry
	mg/100ml
	
	1.7

	Triglycerides
	Glycerokinase trinder colorimetry
	mg/100ml
	
	57

	Gamma GT
	Colorimetry kinetic at 37°C
	IU/l
	
	6

	Phosphorus
	Phosphomolybdate colorimetry
	mg/100ml
	
	9.9

	Bilirubin
	DPD/caffeine colorimetry
	mg/100ml
	
	0.2

	Calcium
	Arsénazo colorimetry
	mg/100ml
	
	13.4

	ASAT (SGOT)
	UV kinetic at 37°C
	IU/l
	
	32

	ASAT (SGPT
	UV kinetic at 37°C
	IU/l
	
	9

	Lactate Dehydrogenase
	UV kinetic at 37°C
	IU/l
	
	465

	Sodium
	Indirect potentiometry
	mg/100ml
	
	134

	Alkaline phosphatase
	Colorimetry kinetic at 37°C
	IU/l
	
	402

	Cholesterol
	Cholesterase trinder colorimetry
	mg/100ml
	
	34

	Iron
	TPTZ colorimetry
	µg/100ml
	
	160

	Potassium
	Indirect potentiometry
	mmol/l
	
	11.4


Gentaur Molecular products    Tel : +32 16 58 90 45
www.gentaur.com    
Avenue de l’Armée 68/B4        Fax : +32 16 50 90 45 
www.bioxys.com


B1040 Brussel    
             Info@gentaur.com
www.genprice.com

Belgium                                                             
www.gencompare
